### Test 050-04-02 Support Busy Retry
Determine proper use of the BUSY response code 0x79 and the proper processing of the BUSY response resulting in a retry sending of the message that received a BUSY response.

##### PD
If the PD is unable to accept the command for processing due to temporary unavailability of a resource required to process the command, then the PD shall send the osdp_BUSY reply as defined in subclause 7.19.

##### ACU
ACU may process the osdp_BUSY response and retry the previous command.

#### Purpose
Used by PD to let ACU know that it is already processing a command and allows the PD to determine next step, such as a retry, after its latest command received as an osdp_BUSY .
#### Criteria

Basic OSDP (PD)	Required
Basic OSDP (ACU)	Optional
Secure Channel (PD)	Required
Secure Channel (ACU)	Optional
BIO Match (PD)	Required
BIO Match (ACU)	Optional
BIO Read (PD)	Required
BIO Read (ACU)	Optional
Extended Packet Mode (PD)	Required
Extended Packet Mode (ACU)	Optional
Extended Read/Write (PD)	Required
Extended Read/Write (ACU)	Optional

#### Test action
##### PD Test
##### ACU Test
#### When the ACU receives the osdp_BUSY reply, it may, at its discretion, choose to re-send the same command as it would if the command delivery timed out. If the ACU elects to re-send the command that caused the osdp_BUSY reply, it may do so right away, or at its option may service other PDs before re-sending the command. If, on the other hand, the ACU elects to abandon the command that received the BUSY reply, the PD shall recognize this condition (new sequence number) and shall process the new command.

#### Development status
Available in libosdp-conformance 1.31.1 Build 4
#### Test Results
JSON tags
test	050-04-2
test-status	1 for pass, 0 for fail

#### Revision History
New as 2.4.2