### Test-draft 050-01-02 TCP Interface
t.b.d.
Criteria: (optional) support TCP as implemented in the reference implementation including "kick-not-poll" processing.
Recommended processing: n/a
Confirm only one reply per command; presence of busy; later processing if busy.
##### PD
##### The PD shall send a single reply message to each message addressed to it within the specified maximum REPLY_DELAY, as defined in subclause 5.7.
##### ACU
#### Only the ACU may spontaneously send a message. Each message sent by the ACU is addressed to one and only one PD. The “broadcast message”, as described in Table 1, assumes that there is only one PD connected to the ACU.
#### Purpose
Confirm that the DUT supports the “interrogation/reply” mode and appropriate channel access.
#### Criteria

Basic OSDP (PD)	Required
Basic OSDP (ACU)	Required
Secure Channel (PD)	Required
Secure Channel (ACU)	Required
BIO Match (PD)	Required
BIO Match (ACU)	Required
BIO Read (PD)	Required
BIO Read (ACU)	Required
Extended Packet Mode (PD)	Required
Extended Packet Mode (ACU)	Required
Extended Read/Write (PD)	Required
Extended Read/Write (ACU)	Required

#### Test action
##### PD Test
##### Use OSDP trace to confirm presence of busy, one reply per command.
##### Operator action:
##### Set up DUT and run a selection of commands, collecting a trace
##### Run trace analyzer
##### Confirm analyzer does not report response anomalies.
##### ACU Test
Use OSDP trace to confirm presence of busy, one reply per command.
Operator action:
Set up DUT and run a selection of commands, collecting a trace
Run trace analyzer
Confirm analyzer does not report response anomalies.
#### Development status
1.31-Build-4

#### Test Results
JSON tags
test	n/a
test-status	n/a

#### Revision History
Updated as 2.4.2